ELECTRICAL INSTALLATION

QUESTION ONE

- Name three state authorities which are involved with power production and distribution.                                                                                                     (6marks)

- With an aid of labeled circuit diagram draw; A 3 phase 4- wire supply and show the distribution of both single and three phase loads                      (6mks)

- State two advantages of a.c system over d.c system                                   (2mks)

- State:

  - Two properties of each of the following conductor materials

- Copper

- Aluminium                                                                                                                         (4mks)

  - Two reasons why aluminium conductor is preferred in transmission of electricity                                                                                                                    (2mks)

QUESTION    TWO

- State the difference between a joint and terminations                              (4mks)

- state three risks of loose terminations.                                                         (3mks)

- Draw a labeled diagram of a two-core PVC Armoured PVC insolated cable                     (6mks)

- Give the difference between crimping and cramping methods as used in joining    electrical conductors.                                                                       (4mks)

- (e) Explain three tests conducted in completed electrical install€on.(3mks)

QUESTION THREE:

- With an aid of a labeled diagram explain HRC fuse.                                     (6mks)

- State two advantages of circuit breakers over fuses.                                  (2mks)

- Explain three factors that influence the choice of a wiring system.          (6mks)

- Draw a labeled circuit diagrams for the following D.C motors:

- SEPARATELY excited

- Shunt motor

- Series motor                                                                                           (6mks)

QUESTION FOUR

  - With an aid of a well labeled diagram describe the construction of a machine.                                                                                                                           (10marks)

  - state two advantages of using

- trunking over conduits

- ring over radial socket wiring	                                                         (4marks)

  - Outline:

- The purpose for earthing an electrical installation

- Three parts that need not to be earthed in an electrical installation.                (6marks)

QUESTION FIVE:

- Explain three factors that influence the choice of a wiring system.      (6marks)

- With an aid of a diagram explain three types of electrical joints           (6marks)

- with aid of a labeled diagram, explain the following parts of an earthing system:

- earth electrode

- earth continuity conductor                                                              (4marks)

- explain the following methods used in joining electrical conductors;

- cramping

- riveting                                                                                                 (4marks)