W1-2-60-1-6

JOMO KENYATTA UNIVERSITY

OF

AGRICULTURE AND TECHNOLOGY

UNIVERSITY EXAMINATIONS 2014/2015

FIRST YEAR FIRST SEMESTER EXAMINATION FOR THE

DEGREE OF BACHELOR OF SCIENCE IN CHEMISTRY/

INDUSTRY CHEMISTRY/ANALYTICAL CHEMISTRY

SCH 2304:  ANALYTICAL CHEMISTRY I

DATE:   APRIL 2015	                                      	                    TIME: 2 HOURS

INSTRUCTIONS:	ANSWER QUESTION ONE AND ANY OTHER TWO QUESTIONS

USE THE FOLLOWING INFORMATION WHERE APPROPRIATE

Qtab (n = 8) = 0.524 at 95% confidence level

ttab (df = 14) =  2.1418 at 95% confidence level

ttab (df = 7) =  2.3646 at 95% confidence level

Ftab (F7, 7) = 4.995 at 95% confidence level

ttab (df = 8) =  2.3060 at 95% confidence level

Qtab (n = 4) = 0.831 at 95% confidence level

QUESTION ONE (30 MARKS)

- Distinguish between the following terms as used in fluorescence:

- Pre-filter and post filter effect						[2 marks]

- Static and dynamic quenching						[2 marks]

- Internal and external conversion						[2 marks]

- Fluorescence and phosphorescence						[2 marks]

- i)    Explain the principle of differential scanning calorimetry.			[3 marks]

ii)   Explain one application of thermal analysis.				[1 mark]

- Explain the characteristics of a sample that can be determined by:

- UV/visible spectrophotometry						[2 marks]

- Photoluminescence methods							[2 marks]

- Infra-red spectroscopy 							[2 marks]

- Distinguish between  the following statistical terms:

- Accuracy and precision							[2 marks]

- Histogram and bar chart							[2 marks]

- The concentration level of a lead in a sample of water was determined

by two methods (A and B).  The following tabulated results were obtained.

| Method A | Concentration of Lead in a sample of water (ppm) |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | 4.52 | 6.20 | 5.52 | 5.80 | 4.82 |
| Method B | 3.30 | 4.20 | 3.50 | 3.80 | 4.10 |

Using suitable parametric method, determine whether there is any significant

Difference in the results obtained by the two methods (A and B) at the 95%

confidence level.									[8 marks]

QUESTION TWO (20 MARKS)

- Three students (Anne, John and Tom) determined the level of iron in a food

supplement and obtained the following tabulated results:

| Anne | Fe (ppm) |  |  |  |
| --- | --- | --- | --- | --- |
|  | 4.52 | 3.85 | 5.20 | 3.75 |
| John | 3.30 | 3.85 | 3.50 | 4.10 |
| Tom | 4.85 | 4.70 | 4.75 | 4.70 |

Given that the actual Fe level in the food supplement is 4.0 ppm:

- Provide

- Ascending order of precision	[2 marks]

- Descending order of accuracy	[2 marks]

- Among the three students whose results are affected:

- Most by random errors	[1 mark]

- Least by systematic error	[1 mark]

- Convert the data obtained by Anne to logarithm to the base 10.

Determine whether the largest value after this conversion is an outlier

at the 95% confidence level.	[3 marks]

- i)	Explain the principle of atomic emission spectroscopy.	[3 marks]

ii)	Draw a block diagram of an atomic absorption spectrometer.	[1 mark]

iii)	Discuss each of the components of this instrument:

- The most commonly used light source for this instrument	[3 marks]

- Nebuliser	[1 mark]

- Atomiser	[1 mark]

- Detector	[2 marks]

QUESTION THREE (20 MARKS)

- Draw a block diagram of a spectro-fluorimeter and discuss briefly the

various components of this instrument.						[7 marks]

- Explain the merits and demerits of photoluminescence methods compared

to absorption methods of analysis for molecular species.			[3 marks]

- Explain the following interference effects in atomic spectroscopy and how

each of these can be tackled:

- Self absorption								[2 marks]

- Flame emission								[2 marks]

- Ionisation									[2 marks]

- Explain how you would quantitatively determine ascorbic acid (vitamin C)

in an orange juice sample using any suitable instrumental method of analysis

of your choice. 									[4 marks]

QUESTION FOUR (20 MARKS)

- Distinguish between polarography and voltammetry.				[2 marks]

- Explain how lead in water sample can be quantitatively determined by

anodic stripping voltammetry.							[4 marks]

- The samples of honey were determined for fructose content using two

analytical methods (Method A and Method B).  The following results

were obtained.

| Sample | % Fructose |  |
| --- | --- | --- |
|  | Method A | Method B |
| 1 | 36.5 | 37.5 |
| 2 | 38.2 | 36.8 |
| 3 | 39.9 | 39.5 |
| 4 | 40.5 | 38.5 |
| 5 | 38.3 | 39.5 |
| 6 | 41.3 | 40.8 |
| 7 | 40.5 | 39.1 |
| 8 | 37.5 | 37.1 |

- Using suitable parameter method, determine whether there was

significant difference in the results obtained by the two methods

at the 95% confidence level.						[4 marks]

- Establish whether there is any significant difference in the results

obtained by the two methods at the 95% confidence level, using any

suitable non-parametric methods.					[3 marks]

- Is the smallest value obtained using Method A an outlier at the

95% confidence.								[3 marks]

- Explain the advantages and disadvantages of using method of standard

addition compared to standard methods for calibration strategies.		[4 marks]