W1-2-60-1-6

JOMO KENYATTA UNIVERSITY OF AGRICULTURE AND TECHNOLOGY

UNIVERSITY EXAMINATIONS 2013/2014

YEAR IV SEMESTER I EXAMINATION FOR THE DEGREE OF BACHELOR OF SCIENCE IN CHEMISTRY

SCG 2404:  ANALYTICAL CHEMISTRY II

DATE:   AUGUST 2013	                                            TIME: 2 HOURS

INSTRUCTIONS:  	ANSWER QUESTION ONE AND ANY OTHER 					TWO QUESTION

QUESTION ONE (30 MARKS)

(a)(i)  Provide the spectroscopic state of Chromium (Z=24) and Magnesium (£=12)

[3 marks]

(ii)  Provide all the possible transitions and indicate which of these are allowed transitions

on the basis the selection rules that can be obtained for emission spectrum for these

elements:	[5 marks]

(iii)  Which of the allowed transitions you have given in part (ii) result(s) in resonance

line for Chromium and Magnesium	[1 mark]

(b)  Explain the similarities and differences between flow injection analysis and

(i)  Post column derivatisation in high performance liquid chromatography

[4 marks]

(ii)  Air segmented continuous flow analysis

[4 marks]

(c)  Explain the principle of atomic emission spectroscopy	[3 marks]

(d)  Explain the following interference effects encountered in atomic spectroscopy and

provide solutions to each of these:

(i)  Flame emission	[2 marks]

(ii)  Self absorption	[2 marks]

(iii) Stable compound formation	[3 marks]

(iv)  Ionisation	[2 marks]

(v)   Incomplete volatilization of sample	[1 mark]

QUESTION TWO (20 MARKS)

(a) (i)  Draw a block diagram of an atomic absorption spectrometer fitted with a contuum

light source and describe the various components of this instrument		[10 marks]

(ii)  Explain the role of the continuum light facility in the AAS instrument you have drawn

in part (i).   How does it achieve this role.		[3 marks]

(iii)  Explain why the continuum light source cannot be used on its own as the light source

for atomic absorption spectrometer instead of a hollow cathode lamp	[2 marks]

(b)  In the determination of calcium in milk by AAS using method of standard addition the  \

following results were obtained.

| Volume of 1000 ppm standard diluted with water in 250 ml flask and volume mode to the mark with distilled water (in ml) | Absobance |
| --- | --- |
| 0 | 0.15 |
| 1 | 0.26 |
| 2 | 0.37 |
| 3 | 0.49 |
| 4 | 0.60 |
| 5 | 0.69 |
| 6 | 0.72 |
| 7 | 0.73 |

(i)  Draw a calibration graph of calcium and comment on the profile of this graph.

[2 marks]

(ii) What is the concentration of calcium in the milk sample.

[20 marks]

QUESTION THREE

(a)  Explain the following terms:

(i)  Dispersion	[1 mark]

(ii)  Reverse flow injection analysis	[1 mark]

(b)  Flow injection analysis system can be interfaced to a number of analytical instruments.  Discuss the uses of FIA interface to analytical instruments.	[10 marks]

(c) Explain how you can determine a sample containing sulphide quantitatively using automated system involving the use of FIA system interfaced to a suitable detector for H2S gas generated on-line from sulphide in FIA system.	[4 marks]

(d)  Explain the demerits of using air segmented continuous flow analyzer as compared to

flow injection analysis.	[2 marks]

(e)  Explain how sensitivity can be enhanced in flow injection analysis	[2 marks]

QUESTION FOUR

(a)  Explain the following terms and their importance in analytical chemistry:

(i)  Voltammetry 	[2 marks]

(ii) Electrophoresis 	[2marks]

(b)  Explain how you would quantatively analyze a sample of green leaves of traditional

vegetable for arsenic using a suitable instrumental method of analysis of your choice.

[5 marks]

(c)(i)  Explain the principles of the two commonly used calibration strategies employed for quantitative analysis of analyte either in atomic form or in molecular form using instrumental method of analysis	[6 marks]

(ii)  Discuss the merits and demerits of one of these calibration strategies given in part (i)

over the other.	[3 marks]

(d)  Explain any one factor that may cause;

(i)  Deviation from beer’s law in atomic or molecular spectroscopy	[1 mark]

(ii)  Broadening of atomic line in atomic spectroscopy	[1 mark]