MURANG’A UNIVERSITY OF TECHNOLOGY

SCHOOL OF ENGINEERING AND TECHNOLOGY

UNIVERSITY EXAMINATIONS FOR THE DEGREE OF SCIENCE IN:

BUILDING CONSTRUCTION AND MANAGEMENT

3RDYEAR 1ST   SEMESTER 2015/2016 ACADEMIC YEAR

CENTRE: MAIN CAMPUS

___________________________________________________________________________

COURSE CODE:  TLM 3314

COURSE TITLE: BUILDING SERVICES II

EXAM VENUE: CR               		STREAM:  BSc IN CONSTRUCTION

DATE: 28/4/16                             		EXAM SESSION: 9.00 – 11.00 AM

TIME:  2 HOURS

Instructions

- Answer Question 1 (compulsory) and ANY other two questions

- Candidates are advised not to write on question paper.

- Candidates must hand in their answer booklets to the invigilator while in the examination room

QUESTION ONE

- By aid of sketches differentiate between a radial and a ring circuit connection stating the advantage of ring circuit over radial connection.		(8 marks)

- Explain any TWO functions of isolation and switching systems in a circuit.												(2 marks)

- Explain the stages involved in planning of electrical wiring work.(8 marks)

- Define the term fire stop.						(2 marks)

- With the aid of a sketch explain how a three phase power output is generated.											(6 marks)

- An alternating current completes 5 cycles in 8 ms. Calculate its frequency.

(4 marks)

QUESTION TWO

- By aid of sketches differentiate between natural and artificial ventilation.											(8 marks)

- Outline any FOUR factors affecting ventilation.			(4 marks)

- Outline any FOUR requirements of a good ventilating system.(4 marks)

- Define the term air conditioning.					2 marks)

- List any TWO functional requirements of air filters in air conditioners.

(2 marks)

QUESTION THREE

- Define the term fire load.						(2 marks)

- Given a floor area of 90m2, containing 15 × 103 J/N. Calculate the fire load.										(5 marks)

- Outline any THREE factors that limit the spread of a fire.	(3 marks)

- Describe the following fire protection systems.

- Automatic sprinklers system

- Carbon dioxide system

- Foam system.					(6 marks)

- List any FOUR causes of fire in a building.			(4 marks)

QUESTION FOUR

- Define the term primingas used in pumps.			(2 marks)

- Outline the principles involved in pumping water from a source.(4 marks)

- With the aid of a sketch explain the working principle of a centrifugal pump.

(6 marks)

- A pump lifts 45,000 lts/h against a total head of 18 m. Compute the water horsepower. If the pump has an efficiency of 65%, What size of prime mover is required to operate the pump? If a direct driven electrical motor having an efficiency of 80% is used to operate the pump, calculate the cost of electrical energy in a month of 30 days. The pump is operated for 8 hours daily and the cost of electricity is Ksh. 2.50 per unit.		(6 Marks)

- Explain the condition under which suction lift exist in a pump.(2 marks)

QUESTION FIVE

- Define an escalator.								(2 marks)

- Describe the THREE typical configuration options for escalators.	(3 marks)

- List any FOUR factors that affect the design of escalators.		(2 marks)

- Discuss the following components of escalators;

- Landing platform

- Truss

- Tracks

- Steps

- Hand rail.					(10 marks)

- Discuss safety in terms of fire protection in escalators.		(3 marks)