W1-2-60-1-6

JOMO KENYATTA UNIVERSITY

OF

AGRICULTURE AND TECHNOLOGY

UNIVERSITY EXAMINATIONS 20141/2015

YEAR 3 SEMESTER II EXAMINATIONS FOR THE DEGREE OF BACHELOR OF ARCHITECTURE

ABA 2309: BUILDING ENVIRONMENT SCIENCE II (LIGHTING)

DATE: April 2015						  	TIME: 2 HOURS

INSTRUCTIONS:

Answer question ONE (COMPULSORY) and any other TWO questions

QUESTION ONE (30 MARKS)

- Define any three photometric quantities of light.				(3marks)

- What is your understanding of the following principles of light?		(6marks)

- Light spectrum

- Colour mixing

- Colour temperature

- Explain glare in relation to visual acuity and contrast sensitivity	(4marks)

- What is your understanding of equivalent sphere illuminance?		(2marks)

- The daylight factor and the light inside a room are made up of three separate components. Explain.							(5marks)

- What are the basic factors that affect performance of visual tasks?	(6marks)

- List any four artificial light sources 					(4marks)

QUESTION TWO (20 MARKS)

- Explain the determinants/variables involved for day lighting in peripheral and core zones of a building								(12marks)

- List three sources of natural light 						(3marks)

- Outline three principles of PSALI						(5marks)

QUESTION THREE (20 MARKS)

- Describe any three common types of luminaires 				(8marks)

- You have been appointed to design additional architecture studio building for NIT students. Discuss the energy efficient lighting strategies you are likely to recommend considering that the studio has a 24 hour work life		(12marks)

QUESTION FOUR (20 MARKS)

- Calculate the number of luminaires for a college seminar room such that the average illuminance is 500 lux on the horizontal working plane, using the data listed below

Room dimension (12X8X3.2) m				(14marks)

Reflection factors:

-	Ceiling =70%

-	Wall = 50%

-	Working plane =30%

Average initial lumen per lamp =5800

Each luminaire has 2 lamps

Assumption: The room is cleaned every day

- Using sketches illustrate the following

- Light scoop

- Light tube 								(6marks)