MERU UNIVERSITY OF SCIENCE AND TECHNOLOGY

P.O. Box 972-60200 – Meru-Kenya

Tel: 020-2069349, 061-2309217. 064-30320 Cell phone: +254 712524293, +254 789151411

Fax: 064-30321

Website: www.must.ac.ke  Email: info@must.ac.ke

University Examinations 2014/2015

FIRST YEAR, SECOND SEMESTER EXAMINATION FOR DIPLOMA IN ELECTRICAL ENGINEERING

EEE 2154: ELECTRICAL MEASUREMENTS & TESTING I

DATE: AUGUST, 2015						      TIME: 3 HOURS

INSTRUCTIONS:  Answer question one and any other two questions

QUESTION ONE – 30 MARKS

- Distinguish between an absolute and secondary measuring instrument giving one example of each.										(6 Marks)

- With the aid of suitable circuits show how the following types of instruments are connected, stating quantity and units used by each in measurement.

- A d.c voltmeter								(3 Marks)

- A.c ammeter								(3 Marks)

- Multimeter								(3 Marks)

- Draw labeled diagrams of the following types of moving  iron instruments;

- Repulsion									(5 Marks)

- Attraction									(5 Marks)

- State any three advantages and two disadvantages of permanent magnet moving coil types of instruments.									(5 Marks)

QUESTION TWO (15 MARKS)

- Briefly explain the following methods of measurements giving one example of each;

- Direct 									(3 Marks)

- Indirect									(3 Marks)

- With the aid of a labeled diagram explain the principle of operation of a permanent magnet moving coil type of instrument.							(9 Marks)

QUESTION THREE (15 MARKS)

- (i)   State any two merits of a rectifying type of instruments.			(2 Marks)

(ii)  With the aid of a constructional arrangement diagram explain the principle of operation of electrostatic instruments.							(4 Marks)

- Briefly explain the following types of forces developed in measuring instruments and state the devices used to develop them;

- Dampling 								(3 Marks)

- Controlling								(3 Marks)

- Deflecting 								(3 Marks)

QUESTION FOUR (15 MARKS)

- (i)    Define a digital multimeter and state one application of this instrument,	(2 Marks)

(ii)   Draw a labeled block diagram of cathode Ray oscilloscope and briefly explain its operation.									(9 Marks)

- Define instrument calibrations and state any three basic steps for correcting instrument for bias and surrogates for other measurements situations.			(4 Marks)