SCHOOL OF ENGINEERING

DEPARTMENT OF ELECTRICAL/ELECTRONICS

ARTISAN CERTIFICATE IN ELECTRICAL INSTALLATION

YEAR I

END OF SERIES EXAMINATIONS

AUGUST/SEPTEMBER 2017

ELECTRICAL INSTALLATION (TRADE THEORY)

KNEC 0202/213

TIME: 2 HOURS

INSTRUCTIONS TO CANDIDATES:

- Answer ALL questions

- Any examination IRREGULARITY will lead to DISQUALIFICATION.

- Indicate your FULL ADMISSION NUMBER in each Answer Sheet used.

- Cell phones are NOT allowed in the examination room

- Ensure you have both SCHOOL ID and EXAM CARDS in the examination room

- Scientific calculators and mathematical tables may be used where appropriate.

- Do not write your name anywhere on the answer booklet

Answer ALL questions

QUESTION 1

- Name the instruments used for measuring each of the following electrical quantities:

- resistance

- Power						(2marks)

- Outline FOUR safety gears (wears) to be used in a workshop.		(4marks)

- Distinguish between a conductor and insulator				(4marks)

- The figure below shows series-parralel connection of resistors.

Calculate;

- Total resistance of the circuit

- Current drawn from the power source

- Current through R2

- Power dissipated by R3						(10marks)

QUESTION 2

- Define the following quantities and give their SI units:			(4marks)

- voltage

- power

- Outline FOUR components in an electric circuit				(4marks)

- State Ohms law.								(2marks)

- Define the term capacitance as used in electrostatics and give its SI units	(3marks)

- State FOUR factors which affect resistance of a conductor			(4marks)

- Sketch the symbols of the following electrical and electronic components

- Voltmeter

- Fuse

- Variable resistor							(3marks)

QUESTION 3

- Define the following terms as used in primary cells:

- Local action

- Polarization								(4marks)

- The following is a diagram showing resistors connected in a series.   	(6marks)

- Determine the total resistance of the circuit

- Calculate the current withdrawn from the power source

- Determine the current through

- 20Ω resistor.

- 30Ω resistor

- State FIVE safety precautions to be observed while in an electrical workshop.											(5marks)

- with an aid of a diagram, draw wiring diagram of one lamp controlled from two positions using one gang two way switch.					(5marks)

QUESTION 4

- Outline any FOUR types of capacitors 					(4marks)

- A 100W electric light bulb is connected to a 250V supply. Determine;

- The current flowing in the bulb

- The resistance of the bulb						(4marks)

- Define the following terms as used in circuit protection:

- Current rating

- Fusing current

- Fusing factor								(6marks)

- List any THREE types of fuses						(3marks)

- A cartridge fuse is rated 18A. If the fusing factor is 2.2, determine the fusing current that will blow the fuse. 							(3marks)

QUESTION 5

- State any TWO components of an electric cable				(2marks)

- Name any THREE examples of materials which are insulators.		(3marks)

- State THREE factors which determine capacitance of a capacitor		(3marks)

- State any THREE electric circuit conditions					(3marks)

- The figure below shows connection of capacitors.

- Determine total capacitance of the circuit

- Calculate total charge

- Determine the voltage across  15μF  capacitor

- Find charge through  3μF								(9marks)

******END******