MERU UNIVERSITY OF SCIENCE AND TECHNOLOGY

P.O. Box 972-60200 – Meru-Kenya

Tel: 020-2069349, 061-2309217. 064-30320 Cell phone: +254 712524293, +254 789151411

Fax: 064-30321

Website: www.must.ac.ke  Email: info@must.ac.ke

University Examinations 2014/2015

SECOND YEAR, FIRST SEMESTER EXAMINATION FOR DIPLOMA IN ELECTRICAL ENGINEERING

EEE 2201: ELECTRICAL INSTALLATION TECHNOLOGY III

DATE: AUGUST, 2015						      TIME: 3 HOURS

INSTRUCTIONS:  Answer question one and any other two questions

QUESTION ONE – 30 MARKS

- Excess current is one of the requirement of statutory and the I.E.E. regulations. State what I.E.E indicate.									(2 Marks)

- Explain briefly the need of electrical protection.				(4 Marks)

- Draw the electrical symbols of the following accessories;			(5 Marks)

- Two way two gang switch

- Energy meter

- Switched socket outlet

- Fuse link

- Intermediate switch

- State any three purposes of I.E.E regulation requirements in building.		(6 Marks)

- List two types of standby supplies.						(2 Marks)

- Outline the main refrigeration electrical components.				(5 Marks)

- Define diversity factor.								(2 Marks)

- State the features of standby supplies.						(4 Marks)

QUESTION TWO (15 MARKS)

- A substation has three outgoing feeders;

Feeder 1 has maximum demand of 10mw at 10.00A.M

Feeder 2 has maximum demand of 12mw at 7.00p.m

Feeder 3 has maximum demand of 20mw at 9.00 p.m

The maximum demand of all three feeders is 33mw at 8.00 p.m. Determine diversity factor.										(3 Marks)

- Draw a wiring diagram of two (2) lamps connected in parallel and controlled independently from three different positions.							(6 Marks)

- Outline the general rules of electrical installation design.			(6 Marks)

QUESTION THREE (15 MARKS)

- Explain the purposes of stand by supplies.					(4 Marks)

- State the procedures taken for photo voltaic (PV) installation.			(4 Marks)

- Describe the typical components of air conditioning system.			(7 Marks)

QUESTION FOUR (15 MARKS)

- Outline four ways that are used to design a good airflow in a whole-building ventilation system.										(4 Marks)

- Explain categories of ventilation.						(4 Marks)

- With aid of a diagram explain refrigeration cycle.				(7 Marks)