MERU UNIVERSITY OF SCIENCE AND TECHNOLOGY

P.O. Box 972-60200 – Meru-Kenya.

Tel: 020-2069349, 061-2309217. 064-30320 Cell phone: +254 712524293, +254 789151411

Fax: 064-30321

Website: www.must.ac.ke  Email: info@must.ac.ke

University Examinations 2015/2016

THIRD YEAR FIRST SEMESTER EXAMINATION FOR DIPLOMA IN ELECTRICAL ENGINEERING

EEE 2301: ELEMENTS OF ELECTRICAL POWER SYSTEMS II

DATE: AUGUST 2016				   	                                TIME: 11/2 HOURS

INSTRUCTIONS: Answer question one and any other two questions

QUESTION ONE (30MARKS)

- Define the term substation.									(2 Marks)

- State five functions of substations.								(5 Marks)

- State three types of substations based on voltage levels.					(3 Marks)

- Distinguish between metal-clad and metal enclosed switch gear.				(4 Marks)

- State four types of switchgears based on insulating medium.				(4 Marks)

- List five types of arc quenching methods used in switchgears.				(5 Marks)

- State three disadvantages of Air Circuit breakers.						(3 Marks)

- Outline four parameters used to rate a circuit breaker.					(4 Marks)

QUESTION TWO (15 MARKS)

- State four classifications of circuit breakers based on medium of arc extinction.		(4 Marks)

- Explain the following circuit breaker parameters:

- Short circuit breaking current

- Short circuit making current							(6 Marks)

- State five advantages of air circuit breaker.						(5 Marks)

QUESTION THREE (15 MARKS)

- Define the term switchgear.								(2 Marks)

- State three methods of operating switchgears.						(3 Marks)

- Describe the operation of oil circuit breaker switchgears.					(6 Marks)

- Distinguish between indoor and outdoor switchgears.					(4 Marks)

QUESTION FOUR (15 MARKS)

- State five parts/equipments of a substation.						(5 Marks)

- Highlight five items that should be checked while carrying out maintenance on substation transformer.										(5 Marks)

- Describe the following types of substations:

- Step-up substation

- Outdoor substation								(5 Marks)