MERU UNIVERSITY OF SCIENCE AND TECHNOLOGY

P.O. Box 972-60200 – Meru-Kenya.

Tel: 020-2069349, 061-2309217. 064-30320 Cell phone: +254 712524293, +254 789151411

Fax: 064-30321

Website: www.must.ac.ke  Email: info@must.ac.ke

University Examinations 2015/2016

THIRD YEAR FIRST SEMESTER EXAMINATION FOR DIPLOMA IN ELECTRICAL ENGINEERING

EEE 2303: SYNCHRONOUS MACHINES I

DATE: AUGUST 2016				   	                                TIME: 11/2 HOURS

INSTRUCTIONS: Answer question one and any other two questions

QUESTION ONE (30MARKS)

- State the four characteristics features of a synchronous motor.				(4 Marks)

- Distinguish between stator and rotor parts of a three-phase synchronous motor.		(4 Marks)

- Explain why a 3 phase synchronous motor is not self-starting machine.			(5 Marks)

- Draw the following phasor diagrams of a three-phase synchronous motor-power factors at constant load:

- Lagging 										(3 Marks)

- Leading 										(3 Marks)

- Unity 										(3 Marks)

- Explain the following types of torques development in a three-phase synchronous motor:-

- Normal pull-in										(2 Marks)

- Pull-up											(2 Marks)

- Reluctance 										(2 Marks)

- Pull-in 										(2 Marks)

QUESTION TWO (15 MARKS)

- Draw three-phase synchronous motor and state any two functions of the motor.		(5 Marks)

- With the aid of a two-pole synchronous motor explain the principle of operation of a three-phase synchronous motor.									(10 Marks)

QUESTION THREE (15 MARKS)

- Explain the following methods of starting a three-phase synchronous motor:

- Pump winding									(4 Marks)

- Variable frequency									(4 Marks)

- (i) Define excitation with reference to synchronous motors.				(1 Mark)

(ii) With the aid of phasor diagrams explain the following types of excitation of a three-phase

synchronous motor:

- Under excitation									(3 Marks)

- Over excitation 									(3 Marks)

QUESTION FOUR (15 MARKS)

- With the aid of a graph describe how V-curves of a three-phase synchronous motor are constructed.										(4 Marks)

- With the aid of an equivalent circuit model and phasor diagram of three-phase synchronous motor show that the mechanical power develop is Where

back e.m.f

V= terminal voltage

reactance/phase

Load angle										(7 Marks)

- State any four differences between a three-phase synchronous motor and a three-phase induction motor.											(4 Marks)