MERU UNIVERSITY OF SCIENCE AND TECHNOLOGY

P.O. Box 972-60200 – Meru-Kenya.

Tel: 020-2069349, 061-2309217. 064-30320 Cell phone: +254 712524293, +254 789151411

Fax: 064-30321

Website: www.must.ac.ke  Email: info@must.ac.ke

University Examinations 2015/2016

SECOND YEAR FIRST SEMESTER EXAMINATION

FOR DIPLOMA IN

CIVIL ENGINEERING

ECV 2150:  CONSTRUCTION TECHNOLOGY AND SERVICES II

DATE: APRIL 2016					   	                 TIME: 1 ½ HOURS

INSTRUCTIONS: 	Answer question one and any other two questions

QUESTION ONE (30 MARKS)

- Discuss three functions of carrying out floor finish.  				(9 marks)

- Discuss three advantages and disadvantages of precast concrete floors when compared with in-situ reinforced floors  						(6 marks)

- Explain three factors considered when choosing the type of door to use.  	(6 marks)

- Make a well labeled diagram of a direct cold water supply system  		(9 marks)

QUESTION TWO (15 MARKS)

- State four functions of any door  						(4 marks)

- State five preparations for a door finish.  					(5 marks)

- State three advantages and disadvantages of solvent-borne vs water-borne clear finishes.  									(6 marks)

QUESTION THREE (15 MARKS)

- List down the directions of oiling a floor 					(6 marks)

- State four steps followed when removing an old finish on a floor. 		 (4 marks)

- Explain five types of floor finishes.  						(5 marks)

QUESTION FOUR (15 MARKS)

- State five requirements of a foul water drainage system.  			(5 marks)

- State five guidelines for maintaining a safe electrical installation in a residential house

(5 marks)

- What are the main causes of back siphonage in drinking water supply?  	(5 marks)