MERU UNIVERSITY OF SCIENCE AND TECHNOLOGY

P.O. Box 972-60200 – Meru-Kenya

Tel: 020-2069349, 061-2309217. 064-30320 Cell phone: +254 712524293, +254 789151411

Fax: 064-30321

Website: www.must.ac.ke  Email: info@must.ac.ke

University Examinations 2015/2016

FIRST YEAR SECOND SEMESTER EXAMINATION FOR

CERTIFICATE IN

ELECTRICAL INSTALLATION

EEE 1151:  ELECTRICAL INSTALLATION TECHNOLOGY II

DATE: AUGUST 2016						     	TIME: 1 ½ HOURS

INSTRUCTIONS:  Answer question one and any other two questions.

QUESTION ONE (30 MARKS)

- Explain the importance of testing an electrical after completion  		(6 marks)

- State in order the tests which are carried out in an electrical installation in a domestic premises after completion  							(4 marks)

- Describe any THREE factors which affect the choice of wiring system  	(6 marks)

- Explain stroboscopic effect and state the two methods used to eliminate its effect.  											(6 marks)

- Describe the following types of wiring systems and state any one application of each:

- Trunking  								(4 marks)

- Rising main busbars  							(4 marks)

QUESTION TWO (15 MARKS)

- With the aid of a labeled diagram explain the operation of a fluorescent discharge lamp

(6 marks)

- Draw a layout of a THREE bedroom premises for lighting and power circuits using PVC conducts.  									(9 marks)

QUESTION THREE (15 MARKS)

- With the aid of a labeled diagram, explain how the following tests are carried out on a completed electrical installation

- Verification of polarity  						(5 marks)

- Earth electrode resistance test.  					(5 marks)

- Briefly describe the process of handing-over a new extension of electrical installation work to a client.  								(5 marks)

QUESTION FOUR (15 MARKS)

- With the aid of a labeled diagram the operation of a current-operated earth leakage circuit breaker and state one advantage and one disadvantage of the circuit breaker.  (10 marks)

- With the aid of a labeled diagram, describe the protective multiple earthing system 											(5 marks)