MERU UNIVERSITY OF SCIENCE AND TECHNOLOGY

P.O. Box 972-60200 – Meru-Kenya.

Tel: 020-2069349, 061-2309217. 064-30320 Cell phone: +254 712524293, +254 789151411

Fax: 064-30321

Website: www.mucst.ac.ke  Email: info@mucst.ac.ke

University Examinations 2014/2015

SECOND YEAR, SECOND SEMESTER EXAMINATION FOR DIPLOMA IN ELECTRICAL ENGINEERING

EEE 0229: ELECTRICAL ENGINEERING PRINCIPLES IV

DATE: DECEMBER 2014                                                                                            TIME: 112 HOURS

INSTRUCTIONS: Answer questions one and any other two questions

QUESTION ONE (30 MARKS)

- With the aid of a phasor diagram explain the essential features in the representation of an unsymmetrical three phase system of current 1R,1Y and 1B by symmetrical components											(3 marks)

- Define the term transients							(1 mark)

- Define the term time constant of a circuit as applied to transients		(1 mark)

- In a 3 phase, 4 wire system, the currents in the R,Y and B lines under abnormal conditions were as follows:

1R=0+j50A

1Y=60-j85A

1B=-95-j5A

Determine:

- The positive sequence components of currents				(5 marks)

- The negative sequence components of current				(5 marks)

- The zero sequence components of current				( 3 marks)

- The return current in the neutral conductor				(2 marks)

- The voltage V=250 sin (314t+150) is suddenly applied at t=0 to a circuit consisting of a 10Ω resistor in series with a 0.1H inductor.

(i) Deduce an equation showing how the current varies with time		(7 marks)

(ii)Calculate the value of current 0.025 seconds after switching on		(3 marks)

QUESTION TWO (15 MARKS)

- State three conditions necessary for the production of transients currents	(3 marks)

- A 20 μf capacitor is connected in series with a 90 kΩ resistor and the circuit is connected to a 40v d.c supply.  Determine

- The initial value of current flowing					(1 mark)

- The time constant of the circuit					(1 mark)

- The value of the current one second after connection		(2 marks)

- the value of the capacitor voltage two seconds after connection	(3 marks)

- The time after connection when the resistor voltage is 22V		(3 marks)

- The charge across the capacitor two seconds after connection	(2 marks)

QUESTION THREE (15 MARKS)

- Explain briefly five types of transients					(5 marks)

- A coil of inductance 0.02H and resistance 10Ω is connected to a 40v d.c supply.  Determine

- The final value of current						(2 marks)

- The time constant of the circuit					(2 marks)

- The value of current after a time equal to the time constant from the instant the supply voltage is connected						(3 marks)

- The expected time for the current to rise to within 5% of its final value

(3 marks)

QUESTION FOUR (15 MARKS)

Given that vo=12<1020, v1=7.5<-450, v2=3<1000.  Find the phase voltages taking red as the reference									(15 marks)