MERU UNIVERSITY OF SCIENCE AND TECHNOLOGY

P.O. Box 972-60200 – Meru-Kenya.

Tel: 020-2069349, 061-2309217. 064-30320 Cell phone: +254 712524293, +254 789151411

Fax: 064-30321

Website: www.mucst.ac.ke  Email: info@mucst.ac.ke

University Examinations 2014/2015

FIRST YEAR, FIRST SEMESTER EXAMINATION FOR DIPLOMA IN ELECTRICAL AND ELECTRONIC ENGINEERING

EEE 0202: ELECTRICAL INSTALLATION TECHNOLOGY 1

DATE: DECEMBER 2014                                                                                            TIME: 112 HOURS

INSTRUCTIONS: Answer question one and any other two questions

QUESTION ONE (30 MARKS)

- Explain briefly:

- Importance of safety in electrical installation work			(2 marks)

- The role of IEE Regulations in electrical installations		(2 marks)

- Define the following terms

- Cable									(2 marks)

- Wiring system								(3 marks)

- Accessory								(2 marks)

- State the three types of fuses used in protection of electric circuits and in each case state the major area of application							(6 marks)

- State and explain briefly the three main stages of electrical power supply system in a given country									(9 marks)

- State the four major tests carried out on a newly completed electrical installation

(4 marks)

QUESTION TWO (15 MARKS)

- State four factors that determine the severity of electric shock		(4 marks)

- Draw a labelled diagram of a three phase four wire system of power supply and show how single phase and three phase loads are connected			(11 marks)

QUESTION THREE (15 MARKS)

Use a schematic diagram to show the various stages of an electrical supply system in a country, giving voltage transformations at every stage					(15 marks)

QUESTION FOUR (15 MARKS)

- State four factors considered when selecting a wiring system for a particular installation											(4 marks)

- With the aid of a labelled diagram, describe the operation of miniature circuit breaker

(10 marks)

- State one advantage of a circuit breaker over a fuse				(1 mark)