MERU UNIVERSITY OF SCIENCE AND TECHNOLOGY

P.O. Box 972-60200 – Meru-Kenya.

Tel: 020-2069349, 061-2309217. 064-30320 Cell phone: +254 712524293, +254 789151411

Fax: 064-30321

Website: www.mucst.ac.ke  Email: info@mucst.ac.ke

University Examinations 2014/2015

FIRST YEAR, SECOND SEMESTER EXAMINATION FOR DIPLOMA IN ELECTRICAL AND ELECTRONICS ENGINEERING

EEE 0222: ELECTRICAL INSTALLATION TECHNOLOGY III

DATE: DECEMBER 2014                                                                                        TIME: 112 HOURS

INSTRUCTIONS: Answer question one and any other two questions

QUESTION ONE (30 MARKS)

- With the aid of diagrams describe three types of fuses			(6 marks)

- Draw the electronic symbols of the following				(8 marks)

- Intermediate Switch

- Socket outlet

- Electric bell

- Electric metre

- Explain the need for protection						(2 marks)

- With the aid of a diagram describe a refrigeration system			(6 marks)

- Describe the following terms as used in installation				(8 marks)

- Earthing

- Diversity

- Fusing factor

- Discrimination

QUESTION TWO

- With the aid of diagram, describe a earth leakage circuit breaker which is current operated									(8 marks)

- With the aid of a diagram describe a unitary air conditioning system	(7 marks)

QUESTION THREE

- Draw a domestic power intake point show the supply authority equipment and the consumer equipment								(7 marks)

- With aid of a diagram describe HBC fuse					(5 marks)

- State three reasons of earthing 						(3 marks)

QUESTION FOUR

- Describe a current breaker and state one type of a circuit breaker		(2 marks)

- Define the following terms as used in installation				(8 marks)

- Diversity

- Fusing factor

- Fusing current

- Final circuit

- Explain the need for standby supply						(2 marks)

- State three methods of electrical protection					(3 marks)