MERU UNIVERSITY OF SCIENCE AND TECHNOLOGY

P.O. Box 972-60200 – Meru-Kenya.

Tel: 020-2069349, 061-2309217. 064-30320 Cell phone: +254 712524293, +254 789151411

Fax: 064-30321

Website: www.mucst.ac.ke  Email: info@mucst.ac.ke

University Examinations 2014/2015

SECOND YEAR, SECOND SEMESTER EXAMINATION FOR DIPLOMA IN ELECTRICAL ENGINEERING

EEE 0231: ELECTRICAL MEASUREMENT AND TESTING III

DATE: DECEMBER 2014                                                                                            TIME: 112 HOURS

INSTRUCTIONS: Answer questions one and any other two questions from section B

SECTION A

QUESTION ONE (30 MARKS)

- Preventive maintenance is classified into three types.  Outline these three types

(3 marks)

- Testing is done to eliminate any ‘bugs’ in a system.  State at least two bugs found in a system 									(2 marks)

- Define the following terms

- Calibration								(2 marks)

- Unavailability

- Distinguish between the MTBF and MTTF					(2 marks)

- Explain briefly with aid of a graph, three sections of reliability curve	(6 marks)

- Outline three main effects of high temperatures on an equipment that makes reliability to reduce										(3 marks)

- Explain briefly what the testable design is					(3 marks)

- Define the following terms : Maintainability and performance specification

(4 marks)

- Explain the standard specification and give two examples			(3 marks)

SECTION B

QUESTION TWO

- Define the term the failure rate						(2 marks)

- Explain briefly three factors affecting equipment reliability			(6 marks)

- List and explain what is contained in the test specification			(7 marks)

QUESTION THREE

- Outline and explain three major difference between a prototype and a production design											(6 marks)

- In a system the average time to repair any fault is 2hrs.  Calculate the value of maintainability for a time of 4hrs						(3 marks)

- State and explain briefly three strategies used in ATE			(6 marks)

QUESTION FOUR

- Define the terms below in relation to calibration				(4 marks)

- Special calibration

- Independent calibration

- State the main purpose of tests						(2 marks)

- Explain briefly what the testability is						(3 marks)

- Explain the term availability and explain three factors affecting MTTR	(6 marks)