MERU UNIVERSITY OF SCIENCE AND TECHNOLOGY

P.O. Box 972-60200 – Meru-Kenya.

Tel: 020-2069349, 061-2309217. 064-30320 Cell phone: +254 712524293, +254 789151411

Fax: 064-30321

Website: www.must.ac.ke  Email: info@must.ac.ke

University Examinations 2016/2017

SECOND YEAR, FIRST SEMESTER EXAMINATION FOR THE DEGREE OF BACHELOR OF SCIENCE IN ENTOMOLOGY/PARASITOLOGY.

SZH 3200: BIOLOGICAL INSTRUMENTATION

DATE: DECEMBER, 2016                                                                          TIME: 2 HOURS

INSTRUCTIONS: -	Answer question one and any other two questions

QUESTION ONE (30 MARKS)

- List four personal protective equipment used in the laboratory.		 (2 marks)

- Differentiate between primary and secondary containment.			 (4 marks)

- Describe the types of biological safety cabinets used in microbiological and biomedical laboratory. 									(6 marks)

- State the various biosafety levels. 						(4 marks)

- Outline the principle behind centrifugation.					(5 marks)

- Describe two types of balances.						(4 marks)

- Illustrate PCR reaction technique.						(5 marks)

QUESTION TWO (20 MARKS)

- Discuss the methods used in assessing the risk for acquiring a lab associated infection.											(14 marks)

- Outline six requirements for a gel electrophoresis.				(6 marks)

QUESTION THREE (20 MARKS)

- Illustrate the types of rotors used in centrifugation.				(10 marks)

- Discuss five meters used in a microbiological and biomedical laboratory.	(10 marks)

QUESTION FOUR (20 MARKS)

Discuss the types of chromatography.						(20 marks)

QUESTION FIVE (20 MARKS)

Discuss the types of instruments used for magnification.				(20 marks)