MERU UNIVERSITY OF SCIENCE AND TECHNOLOGY

P.O. Box 972-60200 – Meru-Kenya.

Tel: 020-2069349, 061-2309217. 064-30320 Cell phone: +254 712524293, +254 789151411

Fax: 064-30321

Website: www.must.ac.ke  Email: info@must.ac.ke

University Examinations 2015/2016

FIRST YEAR, FIRST SEMESTER EXAMINATION FOR THE CERTIFICATE IN ELECTRICAL INSTALLATION

EEE1101: ELECTRICAL INSTALLATION TECHNOLOGY I

DATE: DECEMBER, 2016                                                                          TIME: 11/2 HOURS

INSTRUCTIONS: -	Answer question one and any other two questions

QUESTION ONE (30 MARKS)

- State four safety measures you must consider when working in an electrical workshop.											(4 Marks)

- Under the headings of the four items considered in question 1 (a) above briefly explain each of them.									(6 Marks)

- (i)    Describe how a pvc conduit is prepared for installation.			(4 Marks)

(ii)   Name any three types of cables and three groups of cables.		(3 Marks)

- In relation to electrical conductor joints and termination , define the following terms;

- Joint 									(2 Marks)

- Termination								(2 Marks)

- What is voltage drop and what factors do affect voltage drop in a conductor? (5 Marks)

- Briefly describe the types of jointing methods in relation to;			(4 Marks)

- Clamping

- Welding

- Bolting

- Riveting

QUESTION TWO (15 MARKS)

- Explain atleast three reasons for having separate final sub circuits.		(6 Marks)

- Outline the sequence of control in a domestic installation.			(5 Marks)

- Explain any two factors that determine the number of cables accommodated in a given conduit. 										(4 Marks)

QUESTION THREE (15 MARKS)

- In relation to electrical installation define the term accessory.			(2 Marks)

- State any three power electrical accessories.					(6 Marks)

- State any four factors that determine the rating of a cable.			(4 Marks)

- State three advantages of a conduit wiring system.				(3 Marks)

QUESTION FOUR (15 MARKS)

- What considerations are made before selecting a certain wiring system?	(7 Marks)

- Describe the procedure of making a Brittania joint.				(5 Marks)

- State the advantage of copper as a good conductor of electricity compared to aluminium.

(3 Marks)