JARAMOGI OGINGA ODINGA UNIVERSITY OF SCIENCE AND TECHNOLOGY

SCHOOL OF ENGINEERING AND TECHNOLOGY

UNIVERSITY EXAMINATIONS    FOR THE DIPLOMA IN BUILDING AND CIVIL ENGINEERING

2ND YEAR 2ND SEMESTER 2017/2018 ACADEMIC YEAR

CENTRE: MAIN CAMPUS

---------------------------------------------------------------------------------------------------------

COURSE CODE: TBC 2226

COURSE TITLE:    BUILDING TECHNOLOGY II

EXAM VENUE:  LAB 23                             STREAM: DIP IN BLD & CIV ENG

DATE:  21/12/2017                         	          EXAM SESSION: 2.00 – 3.30PM

DURATION: 1 ½  HOURS

--------------------------------------------------------------------------------------------------------

Instructions

- Answer question 1 (Compulsory) and ANY other two questions

- Candidates are advised not to write on question paper

- Candidates must hand in their answer booklets to the invigilator while in the examination room

- a)	Define the following terms as applied to roofs

- Ridge

- Common rafters

- Wall plate

- Purlins								(4 marks)

b)	Sketch and label the details of lean – to roof				(7 marks)

c)	Sketch and dimension a standard plain roofing tile			(7 marks)

d)	Sketch the part of a cross section through a standard paneled door showing weather boards.								(7 marks)

e)	Sketch and label the elevation of ledged battened door.		(7 marks)

f)	out line any four ways of drain testing				(8 marks)

2.	a)	Explain approved document F for ventilating a dwelling house.	(10 marks)

b)	Sketch the vertical cross section through timber casement window	(5 marks)

3.	a)	Sketch timber brackets fixed to wall.					(5 marks)

b)	Describe the following terms.

i)	Skirting

ii)	Architraves

iii)	Dado rails

- Cornices

- Picture rails.							(10 marks)

4.	a)	Define the following terms as used in cold water supply

i)	Main

ii)	Service

iii)	Service pipe

iV)	Communication pipe

v)	Cistern							(5 marks)

b)	With the aid of sketches differentiate between direct cold water supply and indirect cold water supply.								(10 marks)

5.	a)	Sketch and label a cold water storage cistern				(7 marks)

b)	List any two faults in hot water system				(4 marks)

c)	Sketch a pressed steel bracket						(4 marks)