W1-2-60-1-6

JOMO KENYATTA UNIVERSITY OF AGRICULTURE AND TECHNOLOGY

# UNIVERSITY EXAMINATIONS 2014/2015

THIRD  YEAR  EXAMINATION FOR THE DEGREE OF BACHELOR OF SCIENCE IN ……………………………….?

IPH 2315  DRAINAGE  AND CONSERVATION

DATE:   DECEMBER    2014	                           	              TIME: 2   HOURS

INSTRUCTIONS:

ANSWER ALL QUESTIONS IN SECTION  A AND ONLY ONE  QUESTION IN SECTION B

==========================================================

SECTION A [48 MARKS][ANSWER ALL QUESTIONS]

- As a public  health officer what are the general guiding  principles   that you may  consider when recommending  provision of access to sewer drains.   							[6 marks]

- State six guidelines  that have  to be observed  when permitting  construction of privies     [6 marks]

- Define the term  trap in relation to drainage works and list five features  that a sound trap must posses   [6 marks]

- Briefly  describe  any three drainage  fitting  available  either  in sanitary pipe work or underground  drainage  pipeline   [6 marks]

- Briefly  describe  the following sanitary  appliances and give two examples  in each category

- Ablutionary   appliances      [3 marks]

- Soil-appliances     [3 marks]

- List  six guidelines  that   a public  health  officer should  observe when carrying  out maintenance  of sanitary pipe work systems.   [6 marks]

- List six drain cleansing  tools that can be attached   at drain  rods during the process of cleaning  drains.  [6 marks]

- Briefly  describe the drainage activities  that are involved before provision  of a drainage pipe line  from a built  up area to a treatment facility   [6 marks]

SECTION B   [ANSWER  ANY ONE QUESTION] – 22 MARKS

- (a)	Using  a clear sketch, draw  a priority  ventilated  stack disposal  system 	for a two  storey  building   [10 marks]

(b)	Clearly describe the procedure that can be  adopted  in the process of 	buying  pipes  in a newly excavated trench    [12 marks]

- (a)	Discuss three  support excavation methods that may be  used during 	provision  of drainage pipe work system  [10 marks]

- (a)	Discuss  three  fall water drainage   systems  giving their advantages and 	disadvantages  [12 marks]

(b)	Briefly  discuss five ways that a sanitary  appliance  tap may loose  its 	water seal    [10 marks]