W1-2-60-1-6

JOMO KENYATTA UNIVERSITY OF AGRICULTURE AND TECHNOLOGY

# UNIVERSITY EXAMINATIONS 2014/2015

FIRST YEAR  SECOND SEMESTER EXAMINATION FOR THE DEGREE OF BACHELOR OF SCIENCE IN  MEDICAL  MICROBIOLOGY

MMB 2174 :L MEDICAL  INSTRUMENTATION

DATE:   DECEMBER    2014	                           	                     TIME: 2 HOURS

INSTRUCTIONS:

==========================================================

QUESTION ONE

- (i)	Briefly describe a polymerace  chain reaction machine  (PCR) and the 	steps involved  in its use  [5 marks]

(ii)	State  three  characteristics of Boro-silicate  glass used to manufacture  	laboratory   glass wave   [3 marks]

(iii)	Describe  the types and uses of medical laboratory funnels.  [2 marks]

- (i)	Mention  the two types of balances used in a medical laboratory  									[2 marks]

(ii)	Describe how we use and take care of balances   [6 marks]

(iii)	Describe  the principle  of fluorescence  microscopy    [4 marks]

- (i)	Briefly  describe the  basic components of a centrifuge    [3 marks]

(ii)	Describe  what is a haemoglobinometer  and its use in a medical 	laboratory.   [3 marks]

(iii)	List two types of dispensers   [2 marks]

QUESTION TWO

Discuss decontamination of laboratory using chemical disinfectants   [20 marks]

QUESTION THREE

Discuss autoclaves    [20 marks]

QUESTION FOUR

Discuss 2 laboratory instruments used for purifying water.  [20 marks]