MERU UNIVERSITY OF SCIENCE AND TECHNOLOGY

P.O. Box 972-60200 – Meru-Kenya.

Tel: 020-2069349, 061-2309217. 064-30320 Cell phone: +254 712524293, +254 789151411

Fax: 064-30321

Website: www.must.ac.ke  Email: info@must.ac.ke

University Examinations 2015/2016

THIRD YEAR, FIRST SEMESTER EXAMINATION FOR THE DEGREE OF BACHELOR OF SCIENCE IN PUBLIC HEALTH

HPP 3303: LIQUID WASTE MANAGEMENT

DATE: NOVEMBER 2015                                                                                     TIME: 2 HOURS

INSTRUCTIONS: Answer question one and any other two questions

QUESTION ONE (30 MARKS)

- Describe the following;									(3 Marks)

- Eutroplication 									(1 Mark)

- BOD										(1 Mark)

- TSS											(1 Mark)

- Media in a percolating filter							(1 Mark)

- Explain what led to extensive construction of sewer systems in the late 19th and early 20th in century?

(2 Marks)

- Explain who are the actors in the planning and implementation of sewage or waster water management facilities.									(4 Marks)

- Explain what is referred to as waster water in liquid management			(2 Marks)

- List two criteria used in the concept of sustainable waste water treatment options 	(2 Marks)

- Explain what is BOD in sewage treatment							(2 Marks)

- Enumerate 5 various indicators organisms as used in liquid wastes management	(3 Marks)

- Explain why  the inlet and outlet pipes of a used bed positioned below the gravel?  	 (4 Marks)

- Explain why public health experts treat waste water					(4 Marks)

- List four secondary waste water treatment devices					(4 Marks)

QUESTION TWO (20 MARKS)

- Discuss the process of primary treatment of liquid wastes

QUESTION THREE (20 MARKS)

- Discuss the process of secondary treatment of liquid wastes, giving the specifications of the sedimentation tank.

QUESTION FIVE (20 MARKS)

Discuss the merits and demerits of using a waste water stabilization pond