MERU UNIVERSITY OF SCIENCE AND TECHNOLOGY

P.O. Box 972-60200 – Meru-Kenya.

Tel: 020-2069349, 061-2309217. 064-30320 Cell phone: +254 712524293, +254 789151411

Fax: 064-30321

Website: www.must.ac.ke  Email: info@must.ac.ke

University Examinations 2015/2016

SECOND YEAR SECOND SEMESTER EXAMINATION FOR DIPLOMA IN ELECTRICAL ENGINEERING

EEE 2252: ELECTRICAL MEASUREMENT AND TESTING III

DATE: NOVEMBER 2015					   	                 TIME: 11/2 HOURS

INSTRUCTIONS: Answer question one and any other two questions

QUESTION ONE (30 MARKS)

- Define the terms:

- Testability

- Calibration.								(4 Marks)

- Outline briefly, four factors that determine the mean time to repair. (MTTR).	(4 Marks)

- List at least four components that are in test specifications.			(2 Marks)

- Explain briefly the difference between reliability and quality.			(4 Marks)

- In a system the average time to repair any fault is 4 hours.  Calculate the value of maintainability for a time of 5 hours.						(3 Marks)

- Explain briefly three effects of temperature on reliability of an equipment.  State on each the remedies of these effects.								(6 Marks)

- Explain three types of calibration used for calibration procedures.		(3 Marks)

- Outline the calibration procedure of an equipment.				(4 Marks)

QUESTION TWO (15 MARKS)

- Explain briefly three differences between product design and a prototype.	(6 Marks)

- Highlight three purposes of calibration.						(3 Marks)

- Explain briefly three types of preventive maintenance used in industries.	(6 Marks)

QUESTION THREE (15 MARKS)

- Define the terms:

- Performance specification.

- Standard specification.							(4 Marks)

- Explain briefly four types of models used in production processes.		(8 Marks)

- Explain briefly what a working standard is. 					(3 Marks)

QUESTION FOUR (15 MARKS)

- With aid of a sketch, explain three sections of a reliability curve. 		(6 Marks)

- Outline the factors that affect the reliability during the product design and development.											(5 Marks)

- What is the difference between accuracy and precision?				(4 Marks)