MERU UNIVERSITY OF SCIENCE AND TECHNOLOGY

P.O. Box 972-60200 – Meru-Kenya.

Tel: 020-2069349, 061-2309217. 064-30320 Cell phone: +254 712524293, +254 789151411

Fax: 064-30321

Website: www.must.ac.ke  Email: info@must.ac.ke

University Examinations 2015/2016

SECOND YEAR SECOND SEMESTER EXAMINATION FOR DIPLOMA IN ELECTRICAL ENGINEERING

EEE 2251: ELECTRICAL INSTALLATION TECHNOLOGY IV

DATE: NOVEMBER 2015					   	                 TIME: 11/2 HOURS

INSTRUCTIONS: Answer question one and any other two questions

QUESTION ONE (30 MARKS)

- Outline the purpose of earthing.							(3 Marks)

- Define the following terms as used in relation to earthing:

- Earth loop impedance.							(2 Marks)

- Earth leakage.								(2 Marks)

- Earth has many failings as a conductor.  Explain.				(3 Marks)

- State two possible causes of the following electrical fault:

- Electric stock.								(2 Marks)

- Fire/burning.								(2 Marks)

- Complete loss of supply.							(2 Marks)

- An electric heater is fitted to a copper of mass 0.5 kg containing 1.5 litres of water.  Determine the amount of heat needed to raise the temperature of the water 20oC to boiling point.										(3 Marks)

- State the procedures to observe whenever an electrical fault occurs.		(5 Marks)

- Explain the classification of hazardous areas.					(6 Marks)

QUESTION TWO (15 MARKS)

- Petrol service pumps is a hazardous area, explain briefly the conditions required for its construction and in station.							(9 Marks)

- Explain briefly the following conditions which limit the choice of electrical machines:

- Supply available.								(2 Marks)

- Rating.									(2 Marks)

- Special conditions.							(2 Marks)

QUESTION THREE (15 MARKS)

- Define commission.								(2 Marks)

- Explain briefly the purpose of issuing a test certificate of a completed installation or additional of installation work.							(5 Marks)

- With aid of a circuit diagram, describe high voltage direct current testing of caldes.												(5 Marks)

- State how negligence, misuse or abuse by the installer or user may result in electrical faults.											(3 Marks)

QUESTION FOUR (15 MARKS)

- Outline the purpose of protective multiple earthing.				(3 Marks)

- With aid of diagrams, explain the procedures of carrying out soil resistivity tests.												(7 Marks)

- Explain briefly why the earth electrodes must be situated outside the resistance area of any other electrode.									(3 Marks)

- State two methods used for prevention of earth leakeage.				(2 Marks)