MAASAI MARA UNIVERSITY

REGULAR UNIVERSITY EXAMINATIONS

2016/2017 ACADEMIC YEAR

THIRD YEAR FIRST SEMESTER

SCHOOL OF TOURISM AND NATURAL RESOURCE MANAGEMENT

BACHELOR IN ENVIRONMENTAL STUDIES

(ENVIRONMENTAL BIOLOGY AND HEALTH)

COURSE CODE:   EBH 302

COURSE TITLE:  WATER, SANITATION AND HYGIENE

DATE: 27TH JANUARY, 2017				TIME: 1100 – 1300HRS

INSTRUCTIONS TO CANDIDATES

Answer ALL questions in section A and any other THREE in section B.

This paper consists of 2 printed pages. Please turn over

SECTION A

- What is the difference between hygiene and sanitation 	(2marks)

- What are some benefits a community can obtain from instilling sanitation? 									(5marks)

- Under Integrated Water Resource Management Tool, What does the 1992 Dublin Principal State? 						(4marks)

- What does the colour of water indicate? 				(3marks)

- What is a supply system? 						(1mark)

- Define the following terms as used in water distribution. 	(5marks)

- Average day demand -.

- Maximum day demand –

- Peak Hour Demand –

- Peaking Factors –

- Transmission pipeline -

- Name 5 methods used for water purification			(5marks)

SECTION B

- Explain which 4 actions can a community undertake to improve water quality giving the type of pollution 					(8marks)

b)  Name 3 main types of sanitation 					(3marks)

c) Give 4 benefits of using integrated water resource management (IWRM) tool								(4marks)

- A) The Maasai Mara University has 4000 student capacity with an average daily water demand of 40L/capita/day. 			(10marks)

Given; Max daily demand factor is 1.8

Max hourly demand factor is 3.25

Qf= 1020(P)1/2(1-0.01(P)1/2)

Where Q is the fire demand flow in m3/min

P is population in 1000s

  - Calculate the average daily water demand for the school 	(1mark)

  - Calculate the maximum daily demand 				(1 mark)

  - Calculate the fire demand for the school in the month of March for 10hours duration daily rate					(4marks)

  - What is the distribution system flow rate on  the Maximum day     											(1mark)

  - What capacity should the storage reservoir have on a day with a Max hour demand and a Max daily demand?			(3marks)

- B) What primary standard criteria are used in setting drinking water quality standards? 								(5marks)

- a) ECOSAN is an Integrated (multisectoral) approach to water management. Explain how any two of the following sectors can benefit through ECOSAN.       										                       									(10marks)

  - Health

  - Climate protection

  - Energy

  - Economics and labour promotion

b)  Which types of filters are favourable for the below purposes 	(5marks)

Eliminating the following contaminants:

- Biological Entities, Heavy Metals, Organic Chemicals, Inorganic Chemicals & Radioactive Material 				(1mark)

- Chlorine, pesticides,  herbicides and inorganic materials (1mark)

- Toxin removal 							(1mark)

- Serving large communities 					(1mark)

- Serving Small communities					(1mark)

- a)  Name and explain the four categories of water related diseases 	   												(8marks)

b) Explain the role of sanitation in the F diagram 			(6marks)

c) Who is in charge of monitoring water quality and services by Water Supply Points in Kenya?							(1mark)

//END