W1-2-60-1-6

JOMO KENYATTA UNIVERSITY OF AGRICULTURE AND TECHNOLOGY

UNIVERSITY EXAMINATIONS 2015/2016

EXAMINATION FOR THE DEGREE OF BACHELOR OF SCIENCE

SCH 2353: GAS CHROMATOGRAPHY

DATE:   AUGUST    2015	                           	                                 TIME: 2 HOURS

INSTRUCTIONS: ANSWER QUESTION ONE AND ANY OTHER TWO QUESTIONS

=====================================================================

QUESTION ONE

- Name any two

- Local companies  that trade research bottled gas

- problems that an be caused by  impure gas

- Fuel gases  used in gas chromatography

- Main precautions  to be taken while  handling the electron capture  detector.

- Medications of the flame ionisaton detector   [10 marks]

- Define

- Ion  exchange  mechanism

- Partition  mechanism 			[6 marks]

- Explain

- Why metal  or stainless steel tubing is used in GC

- Why synthetic  stationery materials are available  in enumerable  various types

- Necessity of derivitization  in gaz chromatography  [10 marks]

- Differentiate between

- Retention  factor and retention time

- Stationary phase and mobile phase   [4 marks]

QUESTION TWO

- (i)	Define derivatization   [2 marks]

(ii)	Describe any two methods of derivatization   [6 marks]

- Describe  any two advantages of derivatization   [2 marks]

- With the help of a diagram, describe the working  of an electron capture detector   [10 marks]

QUESTION THREE

- Briefly  describe how a gas  chromatograph can be used to analyze a volatile liquid. 								 [10 marks]

- Write short notes  on

- Gas purifiers

- Temperature programming  in Gas chromatography  [10 marks]

QUESTION FOUR

- Give any to

- visualization methods in thin layer chromatography

- main classification of detectors   [4 marks]

- (i)	Describe the laboratory  production of hydrogen for gas 	chromatography     [5 marks]

- Give at least two advantages of laboratory  produced gas  [2 marks]

- Explain  why gas flow rate is measured in mass units  and not by volume units     [6 marks]

- Draw a diagram to illustrate the main components in the flame ionization  detector   [3 marks]