W1-2-60-1-6

JOMO KENYATTA UNIVERSITY OF AGRICULTURE AND TECHNOLOGY

UNIVERSITY EXAMINATIONS 2018/2019

EXAMINATION FOR THE DEGREE OF BACHELOR OF SCIENCE IN

PUBLIC HEALTH

IPH 2115: DRAINAGE AND CONSERVANCY

DATE: JULY  2019		                	                                              TIME: 2HOURS

INSTRUCTIONS:	ANSWER ALL QUESTIONS IN SECTION A AND ANY OTHER ONE

QUESTION IN SECTION B

SECTION A: 48 MARKS

1.	Explain the following terms as used in drainage:-

i)	Drainage system			(1 mark)

ii)	Soil water				(1 mark)

iii)	Waste water				(1 mark)

iv)	Sewer					(1 mark)

v)	Soil pipe				(1 mark)

vi)	Drain					(1 mark)

2.	Describe the disadvantages of using polybstylene piping system in the conveyance of water

(6 marks)

3.	Describe the properties of a sound drainage system. (6 marks)

4.	Explain the various ways through which drains are protected from blockages. (6 marks)

5.	Describe the various methods that can be applied in drain function testing. (6 marks)

6.	Explain any 6 drain cleaning tools that can be used in unblocking blockage (6 marks)

7.	Describe any 6 drainage and latrine rules in the public Health Act. (6 marks)

8.	Describe the consequences of poor excrete disposal.

SECTION B: 22 MARKS

9.	a)	Discuss the various situations that will warranty the use of conservancy in the disposal of

excrete. (11 marks)

b)	Discuss the role of various bodies governing drainage systems. (11 marks)

10.	a)	Discuss the various tools and equipments that are used in drainage (11 marks)

b)	Discuss the merits and demerits of conservancy systems (11 marks)

11.	Discuss the various types of sewer systems.  (22 marks)