`

W1-2-60-1-6

JOMO KENYATTA UNIVERSITY OF AGRICULTURE AND TECHNOLOGY

# UNIVERSITY EXAMINATIONS 2017/2018

THIRD YEAR  FIRST SEMESTER EXAMINATION  FOR THE DEGREE OF BACHELOR OF   ARCHITECTURAL TECHNOLOGY

ABA 2304 :  BUILDING  ENVIRONMENT   SCIENCE  [THERMAL]

DATE:  JANUARY   2018                                	          TIME: 2 HOURS

INSTRUCTIONS:

ANSWER QUESTION ONE [COMPULSORY]AND ANY OTHER TWO QUESTIONS

==========================================================QUESTION ONE  [30 MARKS]

- Solar  radiation  is a general  term for the  electromagnetic  radiation  emitted by  the  sun.  The  amount of solar radiation  that  reaches  any spot  on the  earth’s surface varies according  to  a number of factors.    Discuss. 										[5 marks]

- (i)	The radiation  energy  per unit  time from  a black body is governed 	by Stefan-Beltzman  Law.  Calculate  the rate of heat loss from an 	emitting surface (6mx4m), at a temperature of 2000C. The  stafan-	Boltzman’s  constant is given as 5.6 x 10-8 (W/M2K4).													[3 marks]

(ii)	Assuming  the emitting  surface is gray.  Explain  how the answer  in 	b(i) would be different.   						  [2 marks]

- Define  the following terms:  						[3 marks]

- Thermal resistivity

- Climatology

- Thermal  transmittance

- Explain  how Thermal  Chimney  works, use  of  well  annotated  diagrams is highly  encouraged.      						 [5 marks]

- In building   climatological  site analysis, wind and humidity  component is very  important.  Using  well annotated  sketches  illustrate your  response  to  wind, on the  14 falls  sites for the  resort in ABA 2306.    [6 marks]

- Using  diagrams where necessary,  outline the characteristics  of  Urban  Heat Island.  								 [6 marks].

QUESTION TWO  [20 MARKS]

- Define the following terms: 					[6 marks]

- Operating  temperature

- Standard  effective  temperatures   (SET)

- Predicted  Mean Vote.

- Assume that  the  outside  air  temperature  is 320C with  a relative  humidity of  60%.  Use  the psychrometric  chart to  determine :

- The specific humidity   					  [10 marks]

- The  enthalpy

- The wet  bulb  temperature

- Dew point  temperature

- Specific  volume of the dry air

- What is your understanding  of  the term “Comfort  Zone”.  [4 marks]

QUESTION THREE  [20 MARKS]

- There are four fundamental shading strategies.  Using a  well annotated  sketches,  illustrate  how  these  strategies can be used in  design to achieve  thermal  comfort.   						 [8 marks]

- The goal of  all passive solar heating  systems is to  capture the sun’s  heat  within the building’s elements and  release that heat during  periods when  the sun is  not  shining.  At the same time keeping the same  space  comfortable.  Discuss the  three approaches  to passive solar  systems, outlining   relevance to  local design  challenges for  thermal  comforts.  										  [9 marks]

- (i)	What  is your understanding   of  passive  solar  cooling?  [1 mark]

(ii)	How does  the   use of “wing Walls”  help in achieving  passive 	cooling?     							 [2 marks]

QUESTION FOUR  [20 MARKS]

Urban climate  refers  to  climatic condition  in  and around  cities that differ from

the surrounding areas.   This is attributed   to urban development, which  modifies

the  form   of the  landscape  as well as energy consumption between the  urban

and natural  rural environment.  Write  sort  notes on  Urban Heat  Island,

explaining  cause  and  mitigation  factors thereof.    		 [20 marks]