W1-2-60-1-6

JOMO KENYATTA UNIVERSITY

OF

AGRICULTURE AND TECHNOLOGY

UNIVERSITY EXAMINATIONS 2020/2021

END OF SEMESTER EXAMINATIONS FOR THE DEGREE OF BACHELOR OF SCIENCE IN FOOD SCIENCE AND TECHNOLOGY

AFS 2303:  INSTRUMENTAL METHODS IN FOOD ANALYSIS

DATE: AUGUST 2021							TIME: 2 HOURS

SECTION A (30 MARKS)

- Briefly explain five factors that influence the choice of a method of analysis.      (5 marks)

- Differentiate between the following;						  (6 marks)

- Reference standards and check samples

- Instrument  and a machine

- Qualitative and Quantitative measurements

- Normal phase columns and reverse phase columns

- Gas Liquid phase chromatography and Gas solid Chromatography

- Spectrophotometer and spectrophotometry

- Explain the meaning of each of the following terms:				(5 marks)

- Limit of detection (LOD)

- Limit of Quantification (LOQ)

- Linear dynamic range

- Beer Lambert’s law

- Light

- State the importance of each of the following in analysis of minerals using atomic absorption spectrophotometry.								(4 marks)

- Burner height adjustments

- Flame smoothness

- Background correction

- Hollow cathode lamp

- Define each of the following;

- Chromatography								(2 marks)

- Partitioning or distribution coefficient					(2 marks)

- Retention time								(1 mark)

- Peak Resolution								(1 mark)

- Name with a brief explanation FOUR gel systems in electrophoresis.  		(4 marks)